## Application form
Application form – Environmental Incentive Scheme (EIS)
anything in yellow is for the applicant to complete
STW Reference Number | this is the reference we made your water connection or source of water against.
Tell us about the site
Site name / address |  | Site Manager’s name
Applicant's name |  | Site Manager’s telephone number
Applicant's telephone number
~ An application for the environmental incentives should only be submitted once the properties water connection has been completed and all internal fittings are installed within the property and/or
all external surface water management solutions are installed.
~ I must provide all data sheets for all fittings used within the property and they must not exceed the maximums for the desired incentive.
~ I must provide all required evidence for my external surface water management solution.
~ I understand that the property must not be occupied before the audit and if it is then the property will not receive the incentive.
~ I understand that if my application fails the desktop audit, I will have one opportunity to rectify the property and resubmit my application for the environmental incentives with the correct evidence.
~ Following our audit of the property, we'll email you with your results, if you PASS your audit we'll need your confirmation by email on who and how we pay the incentive.
~ All Rain Garden or Permeable Paving applications must be accompanied by the supporting evidence published on our website.
~ All other charges relating to construction works are payable as per the New Connections and Developer Charges Scheme and are not impacted by the incentives payments.
Please note: if you request the payment for the incentives to be made to yourself, all quotation charges must be made before the incentive payment is returned.
~ If applying on someone else's behalf, we'll need that persons authorisation with the application before we'll complete the audit.
~ For more information on how to qualify for our incentives and what we need from you, please click the following link:
Infrastructure charges ¦ Application forms, guidance & agreements ¦ Regulations and forms ¦ Building and Developing ¦ Severn Trent Water
Print name |  | Date
By printing your name here, you're agreeing to the terms stated above.
Please send the completed application form and supporting documents to us at: EIS@severntrent.co.uk
Please continue your application by filling out the next TAB below, if you have any difficulties completing this form email us at: EIS@severntrent.co.uk

## Property details
Application form... (continued) – Environmental Incentive Scheme (EIS)
| Tell us which plots are ready for audit |  |  | anything in yellow is for the applicant to complete
~ If you have multiple plots of the same type, with the same water fittings installed, ready for audit at the same time, then you can populate one fittings list tab (below) with multiple plots.
~ If you have a variety of house types, with differing water fittings ready for inspection at the same time, then you will need to populate separate fittings list tabs (below) for each house type.
~ You can have multiple of the same fitting e.g. Toilets or Showers. However, we'll need to see Data sheets for all fittings and will mark you against the framework for the fitting with the highest flowrate.
~ The application will be rejected if the " Fittings list" isn't completed with your "Application form" and also accompanied by "Datasheets" for every water fitting you have installed.
~ We will only allow 2 applications per plot, meaning you can reapply once, if your plot fails its first audit.
~ Any Rain garden or Permeable paving applications must be accompanied by the supporting evidence published on our website *per plot* - Tick to confirm which incentives above.
~ Please see our example below, for a plot that is applying for the 100l/p/d water incentive and also the permeable surface waste incentive.
| Plot number | House type / name | Postal address of the plot | Date of Water connection / Meter commission | Water |  |  | Sewerage |  | Data sheets provided for plot
[5 empty] | 100l/p/d | 90l/p/d | 85l/p/d | Rain garden | Permeable surface
E.G. | 1 | The Stamford - 3 bed semi | 5 Mickey Mouse Drive, Derby, DE1 9DS | 2025-03-17 | TRUE | FALSE | FALSE | FALSE | TRUE | FALSE | E.G.
[5 empty] | FALSE |  |  |  |  | FALSE |  | FALSE | FALSE | FALSE | FALSE
[5 empty] | FALSE |  |  |  | FALSE | FALSE |  | FALSE | FALSE | FALSE | FALSE
[5 empty] | FALSE |  |  |  |  | FALSE |  | FALSE | FALSE | FALSE | FALSE
[12 empty] | FALSE | FALSE | FALSE | FALSE
[12 empty] | FALSE | FALSE | FALSE | FALSE
[5 empty] | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | FALSE | FALSE | FALSE | FALSE
[5 empty] | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | FALSE | FALSE | FALSE | FALSE
[5 empty] | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | FALSE | FALSE | FALSE | FALSE
[5 empty] | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | FALSE | FALSE | FALSE | FALSE
[5 empty] | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | FALSE | FALSE | FALSE | FALSE
| Please continue your application by filling out the next TAB below, if you have any difficulties completing this form email us at |  |  |  |  | EIS@severntrent.co.uk

## Water Fittings List (1)
EIS - Fittings list - 1 | [9 empty] | EIS - Audit sheet (for Severn Trent use) |  | (if applicable)
[10 empty] | Desktop audit - EIS Team to populate |  | Field audit - Construction Project Manager to populate
[5 empty] | Developer to populate | anything in yellow is for the applicant to complete
Which house type is this form for? |  |  | House Type | [6 empty] | PASSED PLOTS |  | PASSED PLOTS
Which plots match this house type & fittings? |  |  | Plots applied for |  |  | Which scheme are you applying for? 100l/p/d, 90l/p/d or 85l/p/d ? |  |  |  | FAILED PLOTS |  | FAILED PLOTS
Fitting (Mandatory fitting * ) | Unit of Measure | Maximum Capacity / Flow rate set by framework l/p/d |  |  | Enter below the name / model of your water fitting | Enter below Maximum Capacity/ Flow Rate of your fitting (at highest noted pressure on datasheet) |  |  | For Severn Trent use only | PASS / FAIL | Reason for Fail | PASS / FAIL | Reason for Fail |  |  | Which plot/s
|  | 100 | 90 | 85 |  | 100 | 90 | 85
WC (dual flush) * | Full Flush Litres | 4 | 4 | 2
| Part Flush Litres | 2.6 | 2.6
Shower * | Flow Rate (l/m) | 7 | 5 | 5
Bath * | Capacity to Overflow | 170 | 170 | 170
Basin Taps (Bathroom) * | Flow Rate (l/m) | 5 | 4 | 3.5
Sink Taps (Kitchen) * | Flow Rate (l/m) | 6 | 5 | 5
Dishwasher | Litres/ Place Setting | 1 | 1 | 1
Washing Machine | Litres/KG | 6 | 6 | 6
the framework does not require the Dishwasher or Washing machine to be fitted. | [11 empty] | Date Audit completed? |  | Outside 8 working day SLA? | If Yes? Was it Customer requested?
Please note;
~ If you have multiple plots of the same type, with the same water fittings installed, ready for audit at the same time, then you can populate one fittings list tab (below) with multiple plots.
~ If you have a variety of house types, with differing water fittings ready for inspection at the same time, then you will need to populate separate fittings list tabs (below) for each house type.
~ You can have multiple of the same fitting e.g. Toilets or Showers. However, we'll need to see Data sheets for all fittings and will mark you against the framework for the fitting with the highest flowrate.
~ The application will be rejected if the " Fittings list" isn't completed with your "Application form" and also accompanied by "Datasheets" for every water fitting you have installed.
~ We will only allow 2 applications per plot, meaning you can reapply once, if your plot fails its first audit.
If you have any difficulties completing this form please email us at |  |  |  |  | EIS@severntrent.co.uk

## Water Fittings List (2)
EIS - Fittings list - 2 | [9 empty] | EIS - Audit sheet (for Severn Trent use) |  | (if applicable)
[10 empty] | Desktop audit - EIS Team to populate |  | Field audit - Construction Project Manager to populate
[5 empty] | Developer to populate | anything in yellow is for the applicant to complete
Which house type is this form for? |  |  | House Type | [6 empty] | PASSED PLOTS |  | PASSED PLOTS
Which plots match this house type & fittings? |  |  | Plots applied for |  |  | Which scheme are you applying for? 100l/p/d, 90l/p/d or 85l/p/d ? |  |  |  | FAILED PLOTS |  | FAILED PLOTS
Fitting (Mandatory fitting * ) | Unit of Measure | Maximum Capacity / Flow rate set by framework l/p/d |  |  | Enter below the name / model of your water fitting | Enter below Maximum Capacity/ Flow Rate of your fitting (at highest noted pressure on datasheet) |  |  | For Severn Trent use only | PASS / FAIL | Reason for Fail | PASS / FAIL | Reason for Fail |  |  | Which plot/s
|  | 100 | 90 | 85 |  | 100 | 90 | 85
WC (dual flush) * | Full Flush Litres | 4 | 4 | 2
| Part Flush Litres | 2.6 | 2.6
Shower * | Flow Rate (l/m) | 7 | 5 | 5
Bath * | Capacity to Overflow | 170 | 170 | 170
Basin Taps (Bathroom) * | Flow Rate (l/m) | 5 | 4 | 3.5
Sink Taps (Kitchen) * | Flow Rate (l/m) | 6 | 5 | 5
Dishwasher | Litres/ Place Setting | 1 | 1 | 1
Washing Machine | Litres/KG | 6 | 6 | 6
the framework does not require the Dishwasher or Washing machine to be fitted. | [11 empty] | Date Audit completed? |  | Outside 8 working day SLA? | If Yes? Was it Customer requested?
Please note;
~ If you have multiple plots of the same type, with the same water fittings installed, ready for audit at the same time, then you can populate one fittings list tab (below) with multiple plots.
~ If you have a variety of house types, with differing water fittings ready for inspection at the same time, then you will need to populate separate fittings list tabs (below) for each house type.
~ You can have multiple of the same fitting e.g. Toilets or Showers. However, we'll need to see Data sheets for all fittings and will mark you against the framework for the fitting with the highest flowrate.
~ The application will be rejected if the " Fittings list" isn't completed with your "Application form" and also accompanied by "Datasheets" for every water fitting you have installed.
~ We will only allow 2 applications per plot, meaning you can reapply once, if your plot fails its first audit.
If you have any difficulties completing this form please email us at |  |  |  |  | EIS@severntrent.co.uk

## Water Fittings List (3)
EIS - Fittings list - 3 | [9 empty] | EIS - Audit sheet (for Severn Trent use) |  | (if applicable)
[10 empty] | Desktop audit - EIS Team to populate |  | Field audit - Construction Project Manager to populate
[5 empty] | Developer to populate | anything in yellow is for the applicant to complete
Which house type is this form for? |  |  | House Type | [6 empty] | PASSED PLOTS |  | PASSED PLOTS
Which plots match this house type & fittings? |  |  | Plots applied for |  |  | Which scheme are you applying for? 100l/p/d, 90l/p/d or 85l/p/d ? |  |  |  | FAILED PLOTS |  | FAILED PLOTS
Fitting (Mandatory fitting * ) | Unit of Measure | Maximum Capacity / Flow rate set by framework l/p/d |  |  | Enter below the name / model of your water fitting | Enter below Maximum Capacity/ Flow Rate of your fitting (at highest noted pressure on datasheet) |  |  | For Severn Trent use only | PASS / FAIL | Reason for Fail | PASS / FAIL | Reason for Fail |  |  | Which plot/s
|  | 100 | 90 | 85 |  | 100 | 90 | 85
WC (dual flush) * | Full Flush Litres | 4 | 4 | 2
| Part Flush Litres | 2.6 | 2.6
Shower * | Flow Rate (l/m) | 7 | 5 | 5
Bath * | Capacity to Overflow | 170 | 170 | 170
Basin Taps (Bathroom) * | Flow Rate (l/m) | 5 | 4 | 3.5
Sink Taps (Kitchen) * | Flow Rate (l/m) | 6 | 5 | 5
Dishwasher | Litres/ Place Setting | 1 | 1 | 1
Washing Machine | Litres/KG | 6 | 6 | 6
the framework does not require the Dishwasher or Washing machine to be fitted. | [11 empty] | Date Audit completed? |  | Outside 8 working day SLA? | If Yes? Was it Customer requested?
Please note;
~ If you have multiple plots of the same type, with the same water fittings installed, ready for audit at the same time, then you can populate one fittings list tab (below) with multiple plots.
~ If you have a variety of house types, with differing water fittings ready for inspection at the same time, then you will need to populate separate fittings list tabs (below) for each house type.
~ You can have multiple of the same fitting e.g. Toilets or Showers. However, we'll need to see Data sheets for all fittings and will mark you against the framework for the fitting with the highest flowrate.
~ The application will be rejected if the " Fittings list" isn't completed with your "Application form" and also accompanied by "Datasheets" for every water fitting you have installed.
~ We will only allow 2 applications per plot, meaning you can reapply once, if your plot fails its first audit.
If you have any difficulties completing this form please email us at |  |  |  |  | EIS@severntrent.co.uk

## Waste Audit - check list (hidden)
EIS - Waste Audit sheets (for Severn Trent use only) |  |  |  |  | (if applicable)
DESKTOP |  | Desktop audit - EIS Team to populate |  |  | FIELD |  | Field audit - Construction Project Manager to populate
|  | PASSED PLOTS | [5 empty] | PASSED PLOTS
|  | FAILED PLOTS | [5 empty] | FAILED PLOTS
|  |  | Yes / No | Which plot/s |  |  |  |  | Yes / No | Which plot/s
Permeable parking surface | On the Drawing - Is the permeable surface (material) evidenced? |  |  |  | Permeable parking surface | Is a permeable surface installed on the parking area of property?
| On the Drawing - Is the parking area big enough for a minimum of 1 car? |  |  |  |  | Is the parking area big enough for a minimum of 1 car?
| On the Drawing - Ensure the surface water from drive and or front garden area does not directly or indirectly flow into a sewer or watercourse |  |  |  |  | Surface water from drive and or front garden area does not directly or indirectly flow into a sewer or watercourse?
Rain garden | On the Drawing - Surface area of rain garden is evidenced and is receiving greater than 20% of the roof area? |  |  |  | Rain garden | Surface area of rain garden is measured and matches size on design?
| On the Drawing - All downpipes on one side of main roof flow to rain garden |  |  |  |  | All downpipes on one side of main roof flow to rain garden?
| On the Drawing - The downspout is visible to see flow of water from it to the rain garden |  |  |  |  | The downspout is visible to see flow of water from it to the rain garden?
| On the Drawing - No overflow from rain garden to sewer |  |  |  |  | No overflow from rain garden to sewer?

## Customer Results page (hidden)
Plot number | Water |  |  | Sewerage |  | Incentive payment
| 100l/p/d | 90l/p/d | 85l/p/d | Rain garden | Permeable surface
0 | [5 empty] | 0
0 | [5 empty] | 0
0 | [5 empty] | 0
0 | [5 empty] | 0
0 | [5 empty] | 0
0 | [5 empty] | 0
0 | [5 empty] | 0
0 | [5 empty] | 0
0 | [5 empty] | 0
0 | [5 empty] | 0
[6 empty] | 0 | Total
Plot Checker | Water |  |  | Sewerage
| 100l/p/d | 90l/p/d | 85l/p/d | Rain garden | Permeable surface
Submitted | 0 | 0 | 0 | 0 | 0
Results | 0 | 0 | 0 | 0 | 0
Matchoff | Match | Match | Match | Match | Match

## DROP DOWNS (hidden)
Drop downs
STW Workstream | PASS / FAIL | Reason for desktop Fail | Reason for Field audit Failure
Customer Connections (Small Developer) | PASS | Fitting is over the flows permitted by Framework | Fitting fitted does not match fittings list / datasheet
Large Developer | FAIL | Fitting is over the flows permitted by Framework (based on Max Pressure on the Datasheet) | Fitting not installed
Self-Lay Provider |  | Fitting is greater than the capacity permitted by Framework | unable to access property - site manager made aware
NAV | YES | No Data sheet provided | unable to access property - H&S - site manager made aware
Unknown | NO | No Water labelling (from when?) | unable to access property - access refused
Property not connected
| YES |  | Property occupied
| NO |  | unable to access property - site manager unavaible
| NA |  | Reason not on the list - Email to EIS team to specify
PASS
FAIL
NA
250
FAIL
300
FAIL
350
FAIL
100
FAIL
275
FAIL

## Dropdowns (hidden)
CPM |  | House Type | Type of site
Mike Rothon | Yes | Flat | Large
Lee Watson | No | Terrace | Self Lay
Jono France |  | Semi | NAV
Gary Neil |  | Detatched
Wayne Mills
Nash Mistry
Chris Hill
Dom Davies
Rob Lewis
Edith Wood
Ryan Griffiths