## Title
| Valid Period | 2021-05-01 |  | to | 2023-04-01
| Version | Date | Owner | Comments
| 1 | 2018-10-01 | J Perry | First Release
| 2 | 2019-04-18 | J Perry | Updates due to new BBOX framework
| 3 | 2021-01-19 | R Brant | Only Talis BB's to be used and AVK TBH's with intgeral Logger Port
| 4 | 2021-05-01 | R Brant | Updated List released to due to new tender framework awards
ALL CONTRACTORS WORKING FOR SEVERN TRENT CAN ONLY USE SUPPLIERS AND FITTINGS THAT APPEAR ON OUR NETWORK FRAMEWORK TENDER, DEVATIONS FROM OUR FRAMEWORK SUPPLIERS WILL REQUIRE PRIOR APPROVAL BEFORE ORDERING AND MUST COME THROUGH THE COMMERICAL DEPARTMENT IN THE FIRST INSTANCE This Spreadsheet is designed as a guide to asssist you in selecting products to used on the potable water network. Any products intended for use must have the appropriate REG-4 and or REG-31 approvals in place. Severn Trent take no responsibility for the installation and use of these fittings, and manufacturers installation instructions must always be followed including using the correct tooling and torque requirements. Our principle supplier of network fittings is Frazers who can be contacted on 0121 505 5361

## Pipe
Name | Supplier | Description | Framework Supplier | Backup Supplier
Clean Pipe | Radius | A factory sealed pipe that allows a quicker, more efficient installation | x
Blue Top Pipe | Saint Gobain | A ductile iron pipe that is suitable for use in contaminated land | x
PE80, 100 Protecaline | GPS | PE products and fittings - open cut only |  | x
New Blue Excel | GPS | A polyethylene pipe (PE100) that has a Black wall with a Blue outer layer |  | x
EXCEL 3C | GPS | Alternative to the Profuse - but cannot currently be used for no-dig (open cut only) |  | x
Molecor PVC-O | Molecor (R2M UK distributors) | Lighter than DI, Toughness, Ease/time of installation | x
Puriton II | Radius | For contaminated ground | x
Ductile iron pipework | Electrosteel | DI pipework | x
Ductile iron pipework | St Gobain | DI pipework | x
Profuse GPS | Radius | PE pipework - open cut only | x

## Philmac
FRAZER 2017
Product name | Supplier Ref Code | Frazer Code
Product name | Supplier Ref Code | Frazer code
BLANKING PLUG 20MM-1/2" | 9128 | PHMI1420
BLANKING PLUG 25MM-3/4" | 9138 | PHMI1430
BLANKING PLUG 32MM-1" | 9148 | PHMI1440
BLANKING PLUG 63MM-2" | 9178 | PHMI1470
JOINER 1/2" X 20MM | 9122 | PHMI0010
REDUCING JOINER 25MM-3/4"X 20MM-1/2" | 9132 | PHMI0130
JOINER 3/4" X 25MM | 9133 | PHMI0020
REDUCING JOINER 32MM-1"X 25MM-3/4" | 9143 | PHMI0150
JOINER 1" X 32MM | 9144 | PHMI0030
REDUCING JOINER 1 1/4"X 32MM | 9154 | PHMI0170
REDUCING JOINER 50MM-1 1/2"X 1 1/4" | 9165 | PHMI0200
JOINER 50MM X 1 1/2" | 9166 | PHMI0050
REDUCING JOINER 63MM-2"X 50MM -1 1/2" | 9176 | PHMI0230
JOINER 63MM X 2" | 9177 | PHMI0060
JOINER MI CON 20MM-1/2" X 1/2" BSP | 9221 | PHMI0240
JOINER MI CON 25MM-3/4" X 1/2" BSP | 9231 | PHMI0270
JOINER MI CON 25MM-3/4" X 3/4" BSP | 9232 | PHMI0280
JOINER MI CON 32MM-1" X 1" BSP | 9243 | PHMI0310
JOINER MI CON 50MM-1 1/2"X 1 1/2" BSP | 9265 | PHMI0380
JOINER MI CON 63MM-2" X 2" BSP | 9276 | PHMI0410
JOINER UTC 15-21MM X 20MM | 1032 | IF156168
JOINER UTC 21-27MM X 20MM | 1042 | IF156172
JOINER UTC 15-21MM X 25MM | 1033 | IF156170
JOINER UTC 21-27MM X 25MM | 1043 | IF156174
JOINER UTC 27-34MM X 25MM | 1053 | IF156176
JOINER UTC 27-34MM X 32MM | 1054 | IF156178
JOINER UTC 34-39MM X 32MM | 1074 | PHIL1074
JOINER UTC 39-43MM X 32MM | 1064 | IF156179
JOINER UTC 47-49MM X 63MM | 1087 | PHIL1087
JOINER UTC 59-61MM X 63MM | 1097 | PHIL1097
MI END CONN UTC 15-21MM X 3/4 BSP | 1232 | PHIL1232
MI END CONN UTC 21-27MM X 3/4 BSP | 1242 | PHIL1242
MI END CONN UTC 27-34MM X 3/4 BSP | 1252 | PHIL1252
JOINER FI CON 20MM-1/2"X 1/2" BSP | 9821 | PHMI0420
JOINER FI CON 25MM-3/4"X 3/4" BSP | 9832 | PHMI0460
JOINER FI CON 32MM-1"X 1" BSP | 9843 | PHMI0490
JOINER FI CON 50MM-1 1/2"X 1 1/2" BSP | 9865 | PHMI0530
JOINER FI CON 63MM-2" X 2" BSP | 9876 | PHMI0550
ELBOW FI 25MM-3/4" X 3/4" BSP | 9632 | PHMI0970
ELBOW FI 32MM-1" X 1" BSP | 9643 | PHMI0990
ELBOW FI 50MM-1 1/2"X 1 1/2" BSP | 9665 | #N/A
ELBOW FI 63MM-2" X 2" BSP | 9676 | PHMI1050
ELBOW 20MM X 1/2" | 9522 | PHMI1060
ELBOW 25MM-3/4" | 9533 | PHMI1070
ELBOW 32MM-1" | 9544 | PHMI1080
ELBOW 50MM-1 1/2" | 9566 | PHMI1100
ELBOW 63MM-2" | 9577 | PHMI1110
ELBOW UTC 15-21MM X 25MM | 1533 | LPPG1533
ELBOW UTC 21-27MM X 25MM | 1543 | LPPG1543
ELBOW UTC 27-34MM X 25MM | 1553 | LPPG1553
LINER 20MM MDPE | 78002 | LPP78002
LINER 25MM MDPE | 78003 | LPP78003
LINER 32MM MDPE | 78004 | LPP78004
LINER 50MM MDPE | 78006 | LPP78006
LINER 63MM MDPE | 78007 | LPP78007
REDUCER SET 25MM X 20MM MDPE | 98032 | PHMI1250
REDUCER SET 32MM X 20MM MDPE | 98042 | PHMI1260
REDUCER SET 32MM X 25MM MDPE | 98043 | PHMI1270
REDUCER SET 50MM X 25MM MDPE | 98063 | PHMI1280
REDUCER SET 50MM X 32MM MDPE | 98064 | PHMI1290
REDUCER SET 63MM X 32MM MDPE | 98074 | PHMI1310
REDUCER SET 63MM X 50MM MDPE | 98076 | PHMI1320
TEE 25MM X 3/4" | 9333 | PHMI0570
TEE 32MM X 1" | 9344 | PHMI0580
TEE 50MM-1 1/2" X 1 1/2" | 9366 | PHMI0600
TEE 63MM X 2" | 9377 | PHMI0610
20 X 32MM 'C' SPANNER | 7024 | PHIL7024
32 X 63MM 'C' SPANNER | 7050 | PHIL7050

## Talis
Product name | Supplier Ref Code | Frazer Code
FERRULE SWIVEL 1/2" MALE IRON INLET X 25MM MDPE PUSHFIT OUTLET GUNMETAL | SFR225Z/P | TBA
FERRULE SWIVEL 3/4" MALE IRON INLET X 25MM MDPE PUSHFIT OUTLET GUNMETAL | SFR325Z/P | TBA
FERRULE SWIVEL 3/4" MALE IRON INLET X 32MM MDPE PUSHFIT OUTLET GUNMETAL | SFR332Y | TBA
FERRULE SWIVEL 1" MALE IRON INLET X 32MM MDPE PUSHFIT OUTLET GUNMETAL | SFR432Z/P | TBA
FERRULE SWIVEL 1.1/2" MALE IRON INLET X 50MM MDPE PUSHFIT OUTLET GUNMETAL | SFR650Z | TBA
FERRULE SWIVEL 2" MALE IRON INLET X 63MM MDPE PUSHFIT OUTLET GUNMETAL | SFR863Z | TBA
FERRULE SWIVEL 1/2" MALE IRON INLET X 1/2" FEMALE IRON OUTLET GUNMETAL | SFR202F | TBA
FERRULE SWIVEL 3/4" MALE IRON INLET X 3/4" FEMALE IRON OUTLET GUNMETAL | SFR303F | TBA
FERRULE SWIVEL 1" MALE IRON INLET X 1" FEMALE IRON OUTLET GUNMETAL | SFR404F | TBA
FERRULE SWIVEL 1.1/2" MALE IRON INLET X 1.1/2" FEMALE IRON OUTLET GUNMETAL | SFR606F | TBA
FERRULE SADDLE 2" SELF TAPPING AC MAIN X 25MM MDPE OUTLET PUSHFIT | STA00225Z/P | TBA
FERRULE SADDLE 3" SELF TAPPING AC MAIN X 25MM MDPE OUTLET PUSHFIT | STA00325Z/P | TBA
FERRULE SADDLE 3" SELF TAPPING AC MAIN X 32MM MDPE OUTLET PUSHFIT | STA00332Y | TBA
FERRULE SADDLE 4" SELF TAPPING AC MAIN X 25MM MDPE OUTLET PUSHFIT | STA00425Z/P | TBA
FERRULE SADDLE 4" SELF TAPPING AC MAIN X 32MM MDPE OUTLET PUSHFIT | STA00432Y | TBA
FERRULE SADDLE 6" SELF TAPPING AC MAIN X 25MM MDPE OUTLET PUSHFIT | STA00625Z/P | TBA
FERRULE SADDLE 6" SELF TAPPING AC MAIN X 32MM MDPE OUTLET PUSHFIT | STA00632Z/P | TBA
FERRULE SADDLE 8" SELF TAPPING AC MAIN X 25MM MDPE OUTLET PUSHFIT | STA00825Z/P | TBA
FERRULE SADDLE 8" SELF TAPPING AC MAIN X 32MM MDPE OUTLET PUSHFIT | STA00832Y | TBA
FERRULE SADDLE 3" SELF TAPPING PVC MAIN X 25MM MDPE OUTLET PUSHFIT | STP09025Z/P | TBA
FERRULE SADDLE 3" SELF TAPPING PVC MAIN X 32MM MDPE OUTLET PUSHFIT | STP09032Z/P | TBA
FERRULE SADDLE 4" SELF TAPPING PVC MAIN X 25MM MDPE OUTLET PUSHFIT | STP11025Z/P | TBA
FERRULE SADDLE 4" SELF TAPPING PVC MAIN X 32MM MDPE OUTLET PUSHFIT | STP11032Y/P | TBA
FERRULE SADDLE 6" SELF TAPPING PVC MAIN X 25MM MDPE OUTLET PUSHFIT | STP00625Z/P | TBA
FERRULE SADDLE 6" SELF TAPPING PVC MAIN X 32MM MDPE OUTLET PUSHFIT | STP00632Z/P | TBA
FERRULE SADDLE 8" SELF TAPPING PVC MAIN X 25MM MDPE OUTLET PUSHFIT | STP00825Z/P | TBA
FERRULE SADDLE 8" SELF TAPPING PVC MAIN X 32MM MDPE OUTLET PUSHFIT | STP00832Z/P | TBA
FERRULE SADDLE 10" SELF TAPPING PVC MAIN X 25MM MDPE OUTLET PUSHFIT | STP01025Z/P | TBA
FERRULE SADDLE 50MM SELF TAPPING MDPE INLET X 25MM MDPE OUTLET PUSHFIT | STM05025Z/P | TBA
FERRULE SADDLE 63MM SELF TAPPING MDPE INLET X 25MM MDPE OUTLET PUSHFIT | STM06325Z/P | TBA
FERRULE SADDLE 90MM SELF TAPPING MDPE INLET X 25MM MDPE OUTLET PUSHFIT | STM09025Z/P | TBA
FERRULE SADDLE 90MM SELF TAPPING MDPE INLET X 32MM MDPE OUTLET PUSHFIT | STM09032Z/P | TBA
FERRULE SADDLE 125MM SELF TAPPING MDPE INLET X 25MM MDPE OUTLET PUSHFIT | STM12525Z/P | TBA
FERRULE SADDLE 125MM SELF TAPPING MDPE INLET X 32MM MDPE OUTLET PUSHFIT | STM12532Z/P | TBA
FERRULE SADDLE 180MM SELF TAPPING MDPE INLET X 25MM MDPE OUTLET PUSHFIT | STM18025Z/P | TBA
FERRULE SADDLE 180MM SELF TAPPING MDPE INLET X 32MM MDPE OUTLET PUSHFIT | STM18032Z/P | TBA
FERRULE BANJO SWIVEL 25MM OUTLET GM FOR MDPE | SFB325Z/P | TBA
FERRULE BANJO SWIVEL 32MM OUTLET GM FOR MDPE | SFB432Z/P | TBA
FERRULE BANJO DOUB OUTLET 3/4"-25MM MDPE 90DEG GM | SFD325Y | TBA
STOP TAP 1/2" GM FEMALE IRON | SV5402FCR | TBA
STOP TAP 3/4" GM FEMALE IRON | SV5403FCR | TBA
STOP TAP 1" GM FEMALE IRON | SV5404FCR | TBA
STOP TAP 1.1/4" GM FEMALE IRON | SV1005FCR | TBA
STOP TAP 1.1/2" GM FEMALE IRON | SV5406FCR | TBA
STOP TAP 2" GM FEMALE IRON | SV5408FCR | TBA
STOP TAP 25MM GM MDPE COMPRESSION | E5874 | TBA
STOP TAP 32MM GM MDPE COMPRESSION | E5882 | TBA
STOP TAP 50MM GM MDPE COMPRESSION | SV5450ZCR | TBA
STOP TAP 63MM GM MDPE COMPRESSION | SV5463ZCR | TBA
METER MANIFOLD 4 PORT C/W STOP TAPS | MANI483 | TBA
FERRULE SWIVEL 1/2" MALE IRON INLET X 25MM MDPE PUSHFIT OUTLET GUNMETAL | SFR225Z | 79505000
FERRULE SWIVEL 3/4" MALE IRON INLET X 25MM MDPE PUSHFIT OUTLET GUNMETAL | SFR325Z | 79505010
FERRULE SWIVEL 3/4" MALE IRON INLET X 32MM MDPE PUSHFIT OUTLET GUNMETAL | SFR332Y/E3870 | 79505020
FERRULE SWIVEL 1" MALE IRON INLET X 32MM MDPE PUSHFIT OUTLET GUNMETAL | SFR432Z | 79505030
FERRULE SWIVEL 1.1/2" MALE IRON INLET X 50MM MDPE PUSHFIT OUTLET GUNMETAL | SFR650Z | 79505040
FERRULE SWIVEL 2" MALE IRON INLET X 63MM MDPE PUSHFIT OUTLET GUNMETAL | SFR863Z | 79505050
FERRULE SWIVEL 1/2" MALE IRON INLET X 1/2" FEMALE IRON OUTLET GUNMETAL | SFR202F | 79505060
FERRULE SWIVEL 3/4" MALE IRON INLET X 3/4" FEMALE IRON OUTLET GUNMETAL | SFR303F | 79505070
FERRULE SWIVEL 1" MALE IRON INLET X 1" FEMALE IRON OUTLET GUNMETAL | SFR404F | 79505080
FERRULE SWIVEL 1.1/2" MALE IRON INLET X 1.1/2" FEMALE IRON OUTLET GUNMETAL | SFR606F | 79505090
FERRULE SADDLE 2" SELF TAPPING AC MAIN X 25MM MDPE OUTLET PUSHFIT | STA00225Z | 79505100
FERRULE SADDLE 3" SELF TAPPING AC MAIN X 25MM MDPE OUTLET PUSHFIT | STA00325Z | 79505110
FERRULE SADDLE 3" SELF TAPPING AC MAIN X 32MM MDPE OUTLET PUSHFIT | STA00332Y | 79505120
FERRULE SADDLE 4" SELF TAPPING AC MAIN X 25MM MDPE OUTLET PUSHFIT | STA00425Z | 79505130
FERRULE SADDLE 4" SELF TAPPING AC MAIN X 32MM MDPE OUTLET PUSHFIT | STA00432Y | 79505140
FERRULE SADDLE 6" SELF TAPPING AC MAIN X 25MM MDPE OUTLET PUSHFIT | STA00625Z | 79505150
FERRULE SADDLE 6" SELF TAPPING AC MAIN X 32MM MDPE OUTLET PUSHFIT | STA00632Y | 79505160
FERRULE SADDLE 8" SELF TAPPING AC MAIN X 25MM MDPE OUTLET PUSHFIT | STA00825Z | 79505170
FERRULE SADDLE 8" SELF TAPPING AC MAIN X 32MM MDPE OUTLET PUSHFIT | STA00832Y | 79505180
FERRULE SADDLE 3" SELF TAPPING PVC MAIN X 25MM MDPE OUTLET PUSHFIT | STP09025Z | 79505200
FERRULE SADDLE 3" SELF TAPPING PVC MAIN X 32MM MDPE OUTLET PUSHFIT | STP09032Z | 79505210
FERRULE SADDLE 4" SELF TAPPING PVC MAIN X 25MM MDPE OUTLET PUSHFIT | STP11025Z | 79505220
FERRULE SADDLE 4" SELF TAPPING PVC MAIN X 32MM MDPE OUTLET PUSHFIT | STP11032Y | 79505230
FERRULE SADDLE 6" SELF TAPPING PVC MAIN X 25MM MDPE OUTLET PUSHFIT | STP00625Z | 79505240
FERRULE SADDLE 6" SELF TAPPING PVC MAIN X 32MM MDPE OUTLET PUSHFIT | STP00632Z | 79505250
FERRULE SADDLE 8" SELF TAPPING PVC MAIN X 25MM MDPE OUTLET PUSHFIT | STP00825Z | 79505260
FERRULE SADDLE 8" SELF TAPPING PVC MAIN X 32MM MDPE OUTLET PUSHFIT | STP00832Z | 79505270
FERRULE SADDLE 10" SELF TAPPING PVC MAIN X 25MM MDPE OUTLET PUSHFIT | STP01025Z | 79505280
FERRULE SADDLE 50MM SELF TAPPING MDPE INLET X 25MM MDPE OUTLET PUSHFIT | STM05025Z | 79505300
FERRULE SADDLE 63MM SELF TAPPING MDPE INLET X 25MM MDPE OUTLET PUSHFIT | STM06325Z | 79505310
FERRULE SADDLE 90MM SELF TAPPING MDPE INLET X 25MM MDPE OUTLET PUSHFIT | STM09025Z | 79505320
FERRULE SADDLE 90MM SELF TAPPING MDPE INLET X 32MM MDPE OUTLET PUSHFIT | STM09032Y | 79505330
FERRULE SADDLE 125MM SELF TAPPING MDPE INLET X 25MM MDPE OUTLET PUSHFIT | STM12525Z | 79505340
FERRULE SADDLE 125MM SELF TAPPING MDPE INLET X 32MM MDPE OUTLET PUSHFIT | STM12532Z | 79505350
FERRULE SADDLE 180MM SELF TAPPING MDPE INLET X 25MM MDPE OUTLET PUSHFIT | STM18025Z | 79505360
FERRULE SADDLE 180MM SELF TAPPING MDPE INLET X 32MM MDPE OUTLET PUSHFIT | STM18032Z | 79505370
FERRULE BANJO SWIVEL 25MM OUTLET GM FOR MDPE | SFB325Y | 79505400
FERRULE BANJO SWIVEL 32MM OUTLET GM FOR MDPE | SFB432Y | 79505410
FERRULE BANJO DOUB OUTLET 3/4"-25MM MDPE 90DEG GM | SFD325Y | 79505420
METER MANIFOLD 4 PORT C/W STOP TAPS | MANI483 | 79505880
6 PORT MANIFOLD C/W 3/4" OUTLETS | HWDL9999 | HWDL9999
LISTENING POST - PLATED |  | 79505890

## Waterfit
All adjustable ferrule straps and stops taps to be used on STW network must be from Waterfit
Please contact Rob Bosson for more information 07468 476860
https://www.waterfit.co.uk/self_tapping_ferrule_straps.php

## Beck
Product name | Supplier Ref Code | Frazer Code
BUSH REDUCING 1/4" X 3/8" GUNMETAL | 3/8/1/4M3241 | 99808600
BUSH REDUCING 1/4" X 1/2" GUNMETAL | 1/2/1/4M3241 | 99808605
BUSH REDUCING 1/4" X 3/4" GUNMETAL | 3/4/1/4M3241 | 99808610
BUSH REDUCING 3/8" X 1/2" GUNMETAL | 1/2/3/8M3241 | 99808615
BUSH REDUCING 1/2" X 3/4" GUNMETAL | 3/4/1/2M3241 | 99808620
BUSH REDUCING 1/2" X 1" GUNMETAL | 1/1/23241 | 99808625
BUSH REDUCING 3/4" X 5/8" GUNMETAL | 3/4/5/8GMADAP | 99808630
BUSH REDUCING 3/4" X 7/8" GUNMETAL | 3/4/7/8GMADAP | 99808635
BUSH REDUCING 3/4" X 1" GUNMETAL | 1/3/4M3241 | 99808640
BUSH REDUCING 3/4"X1.1/4" GUNMETAL | 11/4/3/4M3241 | 99808645
BUSH REDUCING 3/4"X1.1/2" GUNMETAL | 11/2/3/4M3241 | 99808650
BUSH REDUCING 3/4" X 2" GUNMETAL | 2/3/4M3241 | 99808655
BUSH REDUCING 1" X 1.1/4" GUNMETAL | 11/4/1M3241 | 99808660
BUSH REDUCING 1" X 1.1/2" GUNMETAL | 11/2/1M3241 | 99808665
BUSH REDUCING 1" X 2" GUNMETAL | 2/1M3241 | 99808670
BUSH REDUCING 1.1/4" X 1.1/2" GUNMETAL | 11/2/11/43241 | 99808675
BUSH REDUCING 1.1/4" X 2" GUNMETAL | 2/11/4M3241 | 99808680
BUSH REDUCING 1.1/2" X 2" GUNMETAL | 2/11/2M2341 | 99808685
CAP BLANK 1/2" GUNMETAL FI | 1/2M3301 | 99808700
CAP BLANK 3/4" GUNMETAL FI | 3/4M3301 | 99808705
CAP BLANK 1" GUNMETAL FI | 1M3301 | 99808710
CAP BLANK 1.1/2" GUNMETAL FI | 11/2M3301 | 99808715
NIPPLE BARREL MALE IRON 1/2" GUNMETAL | 1/2M3533 | 99808750
NIPPLE BARREL MALE IRON 3/4" GUNMETAL | 3/4M3533 | 99808755
NIPPLE BARREL MALE IRON 1" GUNMETAL | 1M3533 | 99808760
NIPPLE BARREL MALE IRON 1.1/2" GUNMETAL | 11/2M3533 | 99808765
NIPPLE BARREL MALE IRON 2" GUNMETAL | 2M3533 | 99808770
NIPPLE HEX MALE IRON 1/4" GUNMETAL | 1/4M3280 | 99808800
NIPPLE HEX MALE IRON 1/2" GUNMETAL | 1/2M3280 | 99808805
NIPPLE HEX MALE IRON 3/4" GUNMETAL | 3/4M3280 | 99808810
NIPPLE HEX MALE IRON 1" GUNMETAL | 1M3280 | 99808815
NIPPLE HEX MALE IRON 1.1/2" GUNMETAL | 11/2M3280 | 99808820
NIPPLE HEX MALE IRON 2" GUNMETAL | 2M3280 | 99808825
PLUG TAPERED 1/2" MALE IRON GUNMETAL | 1/2M3291 | 99808850
PLUG TAPERED 3.4" MALE IRON GUNMETAL | 3/4M3291 | 99808855
PLUG TAPERED 1" MALE IRON GUNMETAL | 1M3291 | 99808860
PLUG TAPERED 1.1/4" MALE IRON GUNMETAL | 11/4M3290 | 99808865
PLUG TAPERED 1.1/2" MALE IRON GUNMETAL | 11/2M3290 | 99808870
PLUG TAPERED 2" MALE IRON GUNMETAL | 2M3290 | 99808875
SOCKET STRAIGHT FEMALE 3/8" GM BSP BEADED | 3/8M3270 | 99808950
SOCKET STRAIGHT FEMALE 1/2" GM BSP BEADED | 1/2M3270 | 99808955
SOCKET STRAIGHT FEMALE 3/4" GM BSP BEADED | 3/4M3270 | 99808960
SOCKET STRAIGHT FEMALE 1" GM BSP BEADED | 1M3270 | 99808965
SOCKET REDUCER FEMALE 1" X 1/2" GM BSP BEADED | 1/1/2M3240 | 99808900
SOCKET REDUCER FEMALE 1" x 3/4" GM BSP BEADED | 1/3/4M3240 | 99808905
SOCKET STRAIGHT FEMALE 1.1/4" GM BSP BEADED | 11/4M3270 | 99808970
SOCKET STRAIGHT FEMALE 1.1/2" GM BSP BEADED | 11/2M3270 | 99808975
SOCKET STRAIGHT FEMALE 2" GM BSP BEADED | 2M3270 | 99808980
FLANGE ROUND 2"X150MM TAP D GM DRILL TAB D /E | SFD/E2 | 99808999

## STW Covers and Frames
SAINT-GOBAIN PAM UK
Product Detail
| SAP | Old Code
| Code | Stancad | Description
| 225745 | - | STOP TAP BOX 167X147X76 STW WATER
| 225746 | - | BOUNDARY BOX 165X150X60 STW BB
| 186946 | HB40A 1 | WARRIOR GD A 380X230X125 AV KM
| FSWA32EKB41 | HB40F 1 | WARRIOR GD A 380X230X125 E5141 KM
| 186952 | HB40M 1 | WARRIOR GD A 380X230X125 METER KM
| 186957 | HB40W 1 | WARRIOR GD A 380X230X125 WO KM
| 186948 | HB40E 1 | WARRIOR GD A 380X230X125 WATER KM
| 186970 | HB50V 1 | WARRIOR GD A 150X150X100 SV KM
| TBA | - | Surface Box 150x150x150 Solid Top, Badged "SV"
| 186972 | HB54 1 | WARRIOR GD A 225X225X100 KM
| 186976 | HB54V 1 | WARRIOR GD A 225X225X100 SV KM
| CBRA75GK | H041 1 | RAPIDE B125 600X450X40 KM
| CBRA70CK | H042 1 | RAPIDE B125 600X600X40 KM
| 185949 | BM02 1 | VALIANT B125 600X450X75 KM
| 185775 | BC02 1 | INTER-AX D400N 600X450X100 KM
| 185892 | BD06 1 | INTER-AX2 D400N 600X600X100 KM
| 211603 | BD22 1 | INTER-AX2 D400N 675X675X100 KM
| 185857 | BC54 1 | INTER-AX D400N 900X600X100 KM
| 185904 | BD14 1 | INTER-AX2 D400N 600X600X150 KM
| 185928 | BH14 1 | INTER-AX D400H 600X600X150 KM
| 211604 | BD30 1 | INTER-AX2 D400N 675X675X150 KM
| 230598 | - | BRITON F900 675X675X150 KM
| 211562 | - | OPT-EMAX D400N 1220X680X150 KM
| CDIA45MF | BC00 1 | INTER-AX D400N 450X450X100 KM
| 185836 | BC38 1 | INTER-AX D400N 750X600X100 KM
| 185847 | BC46 1 | INTER-AX D400N 750X750X100 KM
| 185874 | BC78 1 | INTER-AX D400N 1250X675X100 KM
| 185744 | BA78 1 | OPT-EMAX D400N 1220X685X100 KM
| 186980 | HB58 1 | WARRIOR GD A 300X300X100 KM
| 186982 | HB58E 1 | WARRIOR GD A 300X300X100 WATER KM
| FSWA32EK | HB40 1 | WARRIOR GD A 380X230X125 KM
| FSWA15CK | HB50 1 | WARRIOR GD A 150X150X100 KM
| 186965 | HB50E 1 | WARRIOR GD A 150X150X100 WATER KM
| CBRA17GK | H050 1 | RAPIDE B125 900X600X50 KM
| 186551 | H043 1 | RAPIDE B125 750X600X40 KM
| 185884 | BC78F 1 | INTER-AX D400N 1250X675X100 FW KM
| 186091 | CJ36 1 | SKNIGHT D400 1210X685X150 CK KM

## Frazer
Product name | Supplier Ref Code | Frazer Code
CONVERTOR FLANGED 80MM X 50MM DOUBLE STUDDED RILSAN COATED NP16 | 211NXA | 98809000
CONVERTOR FLANGED 100MM X 80MM DOUBLE STUDDED RILSAN COATED NP16 | 211NXB | 98809005
CONVERTOR FLANGED 150MM X 80MM DOUBLE STUDDED RILSAN COATED NP16 | 211NXC | 98809010
CONVERTOR FLANGED 150MM X 100MM DOUBLE STUDDED RILSAN COATED NP16 | 211NXD | 98809015
CONVERTOR FLANGED 80MM NP16 X 3" TABLE D DOUBLE STUDDED RILSAN COATED C/W GASKE | 211NXE | 98809100
CONVERTOR FLANGED 80MM NP16 X 4" TABLE D STEEL STUDDED RILSAN COATED C/W GASKET | 211NXF | 98809105
CONVERTOR FLANGED 100MM NP16 X 3" TABLE D STEEL STUDDED RILSAN COATED C/W GASKE | 211NXG | 98809110
CONVERTOR FLANGED 100MM NP16 X 4" TABLE D STEEL DOUBLE STUDDED RILSAN COATED C/ | 211NXH | 98809115
CONVERTOR FLANGED 150MM NP16 X 6" TABLE D STEEL STUDDED RILSAN COATED C/W GASKET | 211NXJ | 98809120
CONVERTOR FLANGED 200MM NP16 X 8" TABLE D STEEL DOUBLE STUDDED RILSAN COATED C/W | 211NXK | 98809125
CONVERTOR FLANGED 200MM NP16 X 9" TABLE D STEEL DOUBLE STUDDED RILSAN COATED C/ | ZSP | 98809130
CONVERTOR FLANGED 250MM NP16 X 9" TABLE E STEEL DOUBLE STUDDED RILSAN COATED C/ | 211NXM | 98809135
FLANGE SET 50MM M16 X 70MM RILSAN COATED NP16 C/W GASKET | 600MOAD | 98809200
FLANGE SET 80MM M16 X 60MM RILSAN COATED NP16 C/W GASKET | 600MOAE | 98809205
FLANGE SET 80MM M16 X 70MM RILSAN COATED NP16 C/W GASKET | 600MOBD | 98809210
FLANGE SET 80MM M16 X 90MM RILSAN COATED NP16 C/W GASKET | 600MOCDD | 98809215
FLANGE SET 100MM M16 X 70MM RILSAN COATED NP16 C/W GASKET | 600MODD | 98809220
FLANGE SET 100MM M16 X 90MM RILSAN COATED NP16 C/W GASKET | 600MOED | 98809225
FLANGE SET 150MM M20 X 70MM RILSAN COATED NP16 C/W GASKET | 600MOFD | 98809230
FLANGE SET 150MM M20 X 90MM RILSAN COATED NP16 C/W GASKET | 600MOGD | 98809235
FLANGE SET 200MM M20 X 70MM RILSAN COATED NP16 C/W GASKET | 600MOHD | 98809240
FLANGE SET 200MM M20 X 90MM RILSAN COATED NP16 C/W GASKET | 600MOJD | 98809245
FLANGE SET 200MM M20 X 120MM RILSAN COATED NP16 C/W GASKET | 600MOJE | 98809250
FLANGE SET 250MM M24 X 90MM RILSAN COATED NP16 C/W GASKET | 600MOKD | 98809255
FLANGE SET 250MM M24 X 100MM RILSAN COATED NP16 C/W GASKET | 600MOLD | 98809260
FLANGE SET 250MM M24 X 130MM RILSAN COATED NP16 C/W GASKET | 600MOLE | 98809265
FLANGE SET 300MM M24 X 100MM RILSAN COATED NP16 C/W GASKET | 600MOMD | 98809270
FLANGE SET 300MM M24 X 110MM RILSAN COATED NP16 C/W GASKET | 600MOPD | 98809275
FLANGE SET 300MM M24 X 130MM RILSAN COATED NP16 C/W GASKET | 600MOPE | 98809280
FLANGE SET 350MM M24 X 100MM RILSAN COATED NP16 C/W GASKET | 600MOQH | 98809285
FLANGE SET 350MM M24 X 110MM RILSAN COATED NP16 C/W GASKET | 600MORC | 98809290
FLANGE SET 350MM M24 X 160MM RILSAN COATED NP16 C/W GASKET | 600MORD | 98809295
FLANGE SET 400MM M27 X 100MM RILSAN COATED NP16 C/W GASKET | 600MOSG | 98809300
FLANGE SET 400MM M27 X 140MM RILSAN COATED NP16 C/W GASKET | 600MOSH | 98809305
FLANGE SET 400MM M27 X 170MM RILSAN COATED NP16 C/W GASKET | 600MOSK | 98809310
FLANGE SET 450MM M27 X 100MM RILSAN COATED NP16 C/W GASKET | 600MOTE | 98809315
FLANGE SET 450MM M27 X 150MM RILSAN COATED NP16 C/W GASKET | 600MOTF | 98809320
FLANGE SET 450MM M27 X 180MM RILSAN COATED NP16 C/W GASKET | 600MOTG | 98809325
FLANGE SET 500MM M30 X 110MM RILSAN COATED NP16 C/W GASKET | 600MOVDE | 98809330
FLANGE SET 500MM M30 X 160MM RILSAN COATED NP16 C/W GASKET | 600MOVDF | 98809335
FLANGE SET 500MM M30 X 180MM RILSAN COATED NP16 C/W GASKET | 600MOVDG | 98809340
FLANGE SET 600MM M33 X 120MM RILSAN COATED NP16 C/W GASKET | 600MOXAD | 98809345
FLANGE SET 600MM M33 X 180MM RILSAN COATED NP16 C/W GASKET | 600MOXAE | 98809350

## GPS
Product name | Supplier Ref Code | Frazer Code
PROTECTALINE TEE FL BRANCH 90MM X 80 | 44 351 313 | 64550490
PROTECTALINE TEE FL BRANCH 110MM X 80 | 44 351 314 | 64550495
PROTECTALINE TEE FL BRANCH 125MM X 80 | 44 363 315 | 64550500
PROTECTALINE TEE FL BRANCH 160MM X 80 | 44 363 317 | 64550505
PROTECTALINE TEE FL BRANCH 180MM X 80 | 44 363 318 | 64550510
PROTECTALINE TEE FL BRANCH 110MM X 100 | 44 352 314 | 64550525
PROTECTALINE TEE FL BRANCH 125MM X 100 | 44 364 315 | 64550530
PROTECTALINE TEE FL BRANCH 160MM X 150 | 44 365 317 | 64550545
PROTECTALINE TEE FL BRANCH 180MM X 150 | 44 365 318 | 64550550
63MM x 25MM PROTECTALINE SELF TAPPING FERRULE STRAP | 44 762 412 | 64550147
90MM x 25MM PROTECTALINE SELF TAPPING FERRULE STRAP | 44 762 393 | 64550091
110MM X 25MM PROTECTALINE SELF TAPPING FERRULE STRAP | 44 762 394 | 64550086
125MM x 25MM PROTECTALINE SELF TAPPING FERRULE STRAP | 44 762 395 | 64550096
63MM x 32MM PROTECTALINE SELF TAPPING FERRULE STRAP | 44 762 415 | 64550148
90MM x 32MM PROTECTALINE SELF TAPPING FERRULE STRAP | 44 762 417 | 64550094
160MM x 25MM PROTECTALINE SELF TAPPING FERRULE STRAP | 44 762 397 | 64550088
110MM X 32MM PROTECTALINE SELF TAPPING FERRULE STRAP | 44 762 418 | 64550087
180MM x 25MM PROTECTALINE SELF TAPPING FERRULE STRAP | 44 762 398 | 64550092
125MM x 32MM PROTECTALINE SELF TAPPING FERRULE STRAP | 44 762 419 | 64550097
160MM x 32MM PROTECTALINE SELF TAPPING FERRULE STRAP | 44 762 421 | 64550089
180mm x 32MM PROTECTALINE SELF TAPPING FERRULE STRAP | 44 762 422 | 64550093
63MM PROTECTALINE REPAIR COUPLER | 44 246 311 | 64550560
90MM PROTECTALINE REPAIR COUPLER | 44 246 313 | 64550570
110MM PROTECTALINE REPAIR COUPLER | 44 246 314 | 64550580
125MM PROTECTALINE REPAIR COUPLER | 44 245 315 | 64550590
160MM PROTECTALINE REPAIR COUPLER | 44 245 317 | 64550600
180MM PROTECTALINE REPAIR COUPLER | 44 245 318 | 64550610
63MM PROTECTALINE x 50MM PN16 STUB FLANGE | 44 227 311 | 64550620
90MM PROTECTALINE x 80MM PN16 STUB FLANGE | 44 228 313 | 64550630
110MM PROTECTALINE x 100MM PN16 STUB FLANGE | 44 228 314 | 64550640
125MM PROTECTALINE x 100MM PN16 STUB FLANGE | 44 226 315 | 64550650
160MM PROTECTALINE x 150MM PN16 STUB FLANGE | 44 226 317 | 64550660
180MM PROTECTALINE x 150MM PN16 STUB FLANGE | 44 226 318 | 64550670
PROTECTA-LINE 25MM X 25MM STRAIGHT 44100307 | 44 100 307 | 64550030
PROTECTA-LINE 32MM X 32MM STRAIGHT 44100308 | 44 100 308 | 64550035
PROTECTA-LINE COUPLER REDUCING 32MM X 25MM 44114409 | 44 114 409 | 64550045
PROTECTA-LINE COUPLER REDUCING 63MM X 32MM 44114415 | 44 114 415 | 64550050
PROTECTA-LINE COUPLER 63MM X 63MM 44100311 | 44 100 311 | 64550040
PROTECTA-LINE COUPLER 25MM PE X 3/4" FI | 44 101 608 | 64550125
PROTECTA-LINE COUPLER 32MM PE X 1" FI 44101612 | 44 101 612 | 64550130
PROTECTA-LINE COUPLER 63MM PE X 2" FI 44101629 | 44 101 629 | 64550135
PROTECTA-LINE COUPLER 25MM PE X 3/4" MI 44151608 | 44 151 608 | 64550100
PROTECTA-LINE COUPLER 32MM PE X 3/4" MI 4151611 | 44 151 611 | 64550105
PROTECTA-LINE COUPLER 32MM PE X 1" MI 44151612 | 44 151 612 | 64550110
PROTECTA-LINE COUPLER 63MM PE X 1 1/2" MI 44151628 | 44 151 628 | 64550115
PROTECTA-LINE COUPLER 63MM PE X 2" MI 44151629 | 44 151 629 | 64550120
PROTECTA-LINE ELBOW 25MM X 25MM 44115307 | 44 115 307 | 64550085
PROTECTA-LINE ELBOW 32MM X 32MM 44115308 | 44 115 308 | 64550090
PROTECTA-LINE ELBOW 63MM X 63MM 44115311 | 44 115 311 | 64550095

## Electrofusion
All electrofusion approved for use is available from Radius Systems
https://www.radius-systems.com/

## HyRam
Product name | Supplier Ref Code | Frazer Code
80mm / 3" Hi Flow Drilling Saddle | 080-000064 | 98804825
100mm / 4" Hi Flow Drilling Saddle | 080-000065 | 98804830
125mm / 5" Hi Flow Drilling Saddle | 080-000066 | 98804832
150mm / 6" Hi Flow Drilling Saddle | 080-000067 | 98804835
175mm / 7" Hi Flow Drilling Saddle | 080-000068 | 98804840
200mm / 8" Hi Flow Drilling Saddle | 080-000069 | 98804845
225mm / 9" Hi Flow Drilling Saddle | 080-000070 | 98804850
250mm / 10" Hi Flow Drilling Saddle | 080-000071 | 98804855
300mm / 12" Hi Flow Drilling Saddle | 080-000072 | 98804860
PVC - 80mm / 3" Hi Flow Drilling Saddle | 080-000077 | 98804925
PVC - 100mm / 4" Hi Flow Drilling Saddle | 080-000078 | 98804930
PVC - 125mm / 5" Hi Flow Drilling Saddle | 080-000079 | 98804932
PVC - 150mm / 6" Hi Flow Drilling Saddle | 080-000080 | 98804935
PVC - 175mm / 7" Hi Flow Drilling Saddle | 080-000081 | 98804940
PVC - 200mm / 8" Hi Flow Drilling Saddle | 080-000082 | 98804945
PVC - 225mm / 9" Hi Flow Drilling Saddle | 080-000083 | 98804950
PVC - 250mm / 10" Hi Flow Drilling Saddle | 080-000084 | 98804955
PVC - 300mm / 12" Hi Flow Drilling Saddle | 080-000085 | 98804960
Valve Plate | 645-000176 | 98804996
Lever | 603-000003 | 98804995
Lubricant | 605-000007 | 98804999
80mm / 3" Sandwich Valve c/w M16x65 cap head bolt set (3no) | 379-000038 | 98804992
Valve Plate (S'wich) | 645-000177 | 98804997
Lever | 603-000003 | 98804995

## Boundary Boxes
Product name | Supplier Ref Code | Frazer Code
25mm Talis UK EBCO Boundary Box | 25mm MBB1100 STW
32mm Talis UK EBCO Boundary Box | 32mm MBB1100FSTW
25mm Talis UK EBCO CONTAMINATED GROUND Boundary Box | MBB1100FCSTW
Talis UK Boundary Box
Talis UK Contaminated Ground Boundary Box

## Economy Plastic Chambers
FRAZER
Product name | Supplier Ref Code | Frazer Code
Full Pack Quantity rates
150X150X75 ECONOMY PLASTIC CHAMBER SECTION ( Pall QTY 320 ) | ECO1 | DRABECO1
150X150X150 ECONOMY PLASTIC CHAMBER SECTION ( Pall QTY 192 ) | ECO2 | DRABECO2
230X230X75 ECONOMY PLASTIC CHAMBER SECTION ( Pall QTY 216 ) | ECO5 | DRABECO5
230X230X150 ECONOMY PLASTIC CHAMBER SECTION ( Pall QTY 108 ) | ECO6 | DRABECO6
430X280X75 ECONOMY PLASTIC CHAMBER SECTION ( Pall QTY 120 ) | ECO7 | DRABECO7
430X280X150 ECONOMY PLASTIC CHAMBER SECTION ( Pall QTY 60 ) | ECO8 | DRABECO8
600X450X75 ECONOMY PLASTIC CHAMBER SECTION ( Pall QTY 48 ) | EC09 | DRAECO09
600X450X150 ECONOMY PLASTIC CHAMBER SECTION ( Pall QTY 24 ) | ECO10 | DRAECO10
900X600X75 ECONOMY PLASTIC CHAMBER SECTION (Pall Qty 24) | ECO11 | DRAECO11
900X600X150 ECONOMY PLASTIC CHAMBER SECTION (Pall Qty 12) | ECO12 | DRAECO12
1200X675X75 ECONOMY PLASTIC CHAMBER SECTION (Pall Qty 24) | ECO13 | DRAECO13
150 X150 ECOBASE 1 TO SUIT 150X150 CHAMBER (Pall Qty 200) | ECOBASE1 | DRABECB1
430x280 ECOBASE 2 TO SUIT OFFSET & CENTRAL OPENING 1 PIECE (Pall Qty 100) | ECOBASE2 | DRABECB2
Split pack Quantity rates
150X150X75 ECONOMY PLASTIC CHAMBER SECTION ( Pall QTY 320 ) | ECO1 | DRABECO1
150X150X150 ECONOMY PLASTIC CHAMBER SECTION ( Pall QTY 192 ) | ECO2 | DRABECO2
230X230X75 ECONOMY PLASTIC CHAMBER SECTION ( Pall QTY 216 ) | ECO5 | DRABECO5
230X230X150 ECONOMY PLASTIC CHAMBER SECTION ( Pall QTY 108 ) | ECO6 | DRABECO6
430X280X75 ECONOMY PLASTIC CHAMBER SECTION ( Pall QTY 120 ) | ECO7 | DRABECO7
430X280X150 ECONOMY PLASTIC CHAMBER SECTION ( Pall QTY 60 ) | ECO8 | DRABECO8
600X450X75 ECONOMY PLASTIC CHAMBER SECTION ( Pall QTY 48 ) | EC09 | DRAECO09
600X450X150 ECONOMY PLASTIC CHAMBER SECTION ( Pall QTY 24 ) | ECO10 | DRAECO10
900X600X75 ECONOMY PLASTIC CHAMBER SECTION (Pall Qty 24) | ECO11 | DRAECO11
900X600X150 ECONOMY PLASTIC CHAMBER SECTION (Pall Qty 12) | ECO12 | DRAECO12
1200X675X75 ECONOMY PLASTIC CHAMBER SECTION (Pall Qty 24) | ECO13 | DRAECO13
150 X150 ECOBASE 1 TO SUIT 150X150 CHAMBER (Pall Qty 200) | ECOBASE1 | DRABECB1
430x280 ECOBASE 2 TO SUIT OFFSET & CENTRAL OPENING 1 PIECE (Pall Qty 100) | ECOBASE2 | DRABECB2

## AVK
All valves and hydrants to be installed or renewed on STW network must be AVK
Please contact John Brelsford for more information 07926 616143
https://www.avkuk.co.uk/en-gb

## Additional items
Product name | Supplier Ref Code | Frazer Code
KTS Extension Spindle Fixed 080-100mm Length 0.60-0.65M Black | 72101500 | 72101500
KTS Extension Spindle 3-Pce 080-100mm Length 0.70-1.15m Light Blue | 72101510 | 72101510
KTS Extension Spindle 2-Pce 080-100mm Length 1.10-1.45m Green | 72101530 | 72101530
KTS Extension Spindle Fixed 150mm Length 0.70m Black | 72101600 | 72101600
KTS Extension Spindle 3-Pce 150mm Length 0.80-1.20m Light Blue | 72101610 | 72101610
KTS Extension Spindle 2-Pce 150mm Length 1.20-1.50m Green | 72101630 | 72101630
KTS Extension Spindle Fixed 200-300mm Length 0.80-0.90M Black | 72101700 | 72101700
KTS Extension Spindle 3-Pce 200-300mm Length 1.00-1.40m Green | 72101710 | 72101710
KTS Extension Spindle Coupling Removal Quick Release Tongs | 72101800 | 72101800
75MM OD SOFT YELLOW SWABS (2"or 63mm pipe)
100MM OD SOFT YELLOW SWABS (3"or 90mm pipe)
125MM OD SOFT YELLOW SWABS (4"or 125mm pipe)
150MM OD SOFT YELLOW SWABS (5"or 160mm pipe)
175MM OD SOFT YELLOW SWABS (6" or 180mm pipe)
Electrofusion wipes
Detectable Marker tape Water Main Below
Marker Tape 150mm wide 365mt roll marked "Caution Water main Below"
Chlorus Tablets PQR250 (250'S)
Chlorus Tablets PQR1000 (100'S)
Chlorus Tablets PQR1000 (300'S)
Chlorus Tablets PQR5000 (200'S)
Thyosulphate Chrystals 25kg bags